## Slide 1: A Study of the TSMC Fab Design

## Slide 2: Costs to Join US Green Building Council and to Obtain Leadership in Energy and Environmental Design(LEED)

## Slide 3: US Green Building Council and LEED
LEED provides third party verification of green buildings. The LEED program rates commercial buildings, homes, neighborhoods, retail, healthcare, schools, including every phase of the respective building lifecycle, including design, construction, operations, and maintenance. Projects may earn one of four levels of LEED certification (Certified, Silver, Gold or Platinum) by achieving a given number of point-based credits within the rating system.
Based in Philadelphia
wikipedia

## Slide 4
台積電的綠色行動-天下文化

## Slide 5
台積電的綠色行動-天下文化
Taiwan’s Eco Building Design Rules and System

## Slide 6
台積電的綠色行動-天下文化
Factory Environment Ecosystem

## Slide 7
台積電的綠色行動-天下文化
Planning for a site

## Slide 8
台積電的綠色行動-天下文化
Choice of Plants

## Slide 9
台積電的綠色行動-天下文化
Building Roof Design
Maximize Sunlight Reflection

## Slide 10: American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE)
ASHRAE，於1894年在美國紐約成立[1]，是由暖通空調（HVAC）工程師所組成的學會，全球的會員超過五萬人，學會主要注重在樓宇系統、能源效率、室內空氣品質、冷凍及可持續性。
The American Society of Heating, Refrigerating and Air-Conditioning Engineers(ASHRAE /ˈæʃreɪ/ ASH-ray) is an American professional association seeking to advance heating, ventilation, air conditioning and refrigeration (HVAC&R) systems design and construction. ASHRAE has over 50,000 members in more than 130 countries worldwide.
ASHRAE's members are composed of building services engineers, architects, mechanical contractors, building owners, equipment manufacturers' employees, and others concerned with the design and construction of HVAC&R systems in buildings. The society funds research projects, offers continuing education programs, and develops and publishes technical standards to improve building services engineering, energy efficiency, indoor air quality, and sustainable development.[3]

## Slide 11: 照明Lighting
台積電的綠色行動-天下文化

## Slide 12
台積電的綠色行動-天下文化
Designing lighting for spaces
Power consumption for area

## Slide 13: Light Rays Travel in Straight Line Paths
台積電的綠色行動-天下文化

## Slide 14: Designing Rooms for Light
台積電的綠色行動-天下文化

## Slide 15: 水資源的利用Water Resources
台積電的綠色行動-天下文化

## Slide 16: Restroom Design and Toilet Flush Details
1.6 * 3 = 4.8 Gallons!
台積電的綠色行動-天下文化
Notes: 1.6 * 3 = 4.8 Gallons!

## Slide 17
台積電的綠色行動-天下文化
LEED comparison for
Water flush Gallons/year data

## Slide 18
台積電的綠色行動-天下文化
LEED data:
Water uses for water basin
Water uses in kitchen area

## Slide 19
台積電的綠色行動-天下文化
Comparison to the LEED data for water basin and kitchen areas

## Slide 20
台積電的綠色行動-天下文化

## Slide 21
台積電的綠色行動-天下文化

## Slide 22: Energy Use Distribution
台積電的綠色行動-天下文化
Total lighting, exterior
Equipment, pumps
Desk lamps, corridor fans

## Slide 23: Building Designs, a Lateral View
台積電的綠色行動-天下文化

## Slide 24
台積電的綠色行動-天下文化
Higher coefficient of performance (COP) is needed for better, efficient equipment.
The water chiller should attain 6.1 kW chilling power for each kW input.
Naturally, the closer the input water temperature to the operating temperature, the better and more efficient machinery.
Pumps need to supply 20 GPM flow.
TSMC recycles the 12 C chiller waste heat to provide 35 C warm water.

## Slide 25
台積電的綠色行動-天下文化
Water chiller device

## Slide 26: Air Flow Considerations
台積電的綠色行動-天下文化

## Slide 27: 1/R Values for Hot Water System
台積電的綠色行動-天下文化

## Slide 28: Power Consumption at the Fab
台積電的綠色行動-天下文化
Numbers are reported in 1000s of kW*hr

## Slide 29: Power Consumption at the Fab
台積電的綠色行動-天下文化

## Slide 30
台積電的綠色行動-天下文化

## Slide 31
台積電的綠色行動-天下文化
Buildings are designed for capacity despite actual needs

## Slide 32: Technologies to Utilize in Modern Buildings
台積電的綠色行動-天下文化
Underground thermal heating

## Slide 34: Chilled Water Uses at the Fab
台積電的綠色行動-天下文化

## Slide 35: Recycling the Heat From Clean Rooms
台積電的綠色行動-天下文化

## Slide 36: Use and Reuse of Chiller Water
台積電的綠色行動-天下文化

## Slide 37: Solar Water Heating
台積電的綠色行動-天下文化

## Slide 38
台積電的綠色行動-天下文化

## Slide 39: Carbon Dioxide Sensors in the Building
台積電的綠色行動-天下文化

## Slide 40
台積電的綠色行動-天下文化

## Slide 41: Air Flow Concerns
台積電的綠色行動-天下文化

## Slide 42: Volatile Organic Compounds
台積電的綠色行動-天下文化

## Slide 43
台積電的綠色行動-天下文化

## Slide 44: Comfortable Room Conditions, Humidity
台積電的綠色行動-天下文化

## Slide 45: Clean Room Humidity
台積電的綠色行動-天下文化